## Slide 1: Experimental methods for studying nanobubbles under a microscope
台大應力所
江宏仁 Hong-Ren Jiang

## Slide 2: Micro-/nano bubbles as colloids
Equilibrium properties
  Brownian motion
  Adsorptions
  Interactions and stability
    Van der Waals force?
    Coulombic repulsion
    Depletion or entropy hindrance

## Slide 3: Micro-/nano bubbles as colloids
Dynamical properties (under external fields)
  Electrophoresis
  Dielectrophoresis
  Thermophoresis
  Diffusiophoresis

## Slide 4
What is phoresis : electrophoresis as an example
Body force
interfacial force
Electro-osmossis

## Slide 5: How to study micro/nano bubbles?
From Dr.Masayoshi Takahashi’s
presentation

## Slide 6: Laser sheet dark field for studying bubble generation
Laser
Detector
motor
Laser sheet
500um
Water

## Slide 7: water

## Slide 8: 0.9% NaCl

## Slide 9
0.9% NaCl
water

## Slide 10: 0.9% NaCl

## Slide 11: Dark field microscope for bubble dynamics
Our setup
37’
20’

## Slide 12: Test for dark field microscope
200 nm PS particle
100 nm PS particle
100um

## Slide 13: Bubbles in 0.9% NaCl
10um
100um
Problems
Glass surface
CCD sensitivity

## Slide 14: Zeta potential of microbubble
From Dr.Masayoshi Takahashi’s
presentation

## Slide 15: Electrophoresis and polarizations
AC or DC
Up 400Vpp 1MHz

## Slide 16
5KHz to 200KHz
Traps for bubbles : dielectrophoresis
AC
ITO
10um for each electrode; 5 um space
Electric potential
Potential of dielectrophoresis

## Slide 17: Traps for bubbles: modified optical tweezers
Ring trap for low refractive index bubble
2-3um
IF n of particle > n of water
IF n of particle < n of water

## Slide 18: Example of ring trap

## Slide 19: bubble and interfacial phenomena Thermophoresis in colloids in aqueous solution: moving toward low or high temperature region
High temperature
Low temperature
Temperature

## Slide 20: Experimental Setup - motion in thermophoresis
Negative Soret coefficient
Silica beads
prefer high temperature
m4
Silica

## Slide 21: Control thermophoretic properties by polymer depletion
Temperature distribution measured by fluorescence
Measuring thermophoresis-
Optical heating setup
Jiang, H.-R., et al.,
Physical Review Letters, 2009. 102 208301
distributions of colloids in a laser heating cell with different thermophoretic mobilities

## Slide 22: Nanobubble on colloidal interface may result partial hydrodynamic slip in thermophoresis
?
?
?
?
?
?
Thermophoresis
T
no-slip boundary case
Hydrodynamic partial
slip boundary case
Ajdari, A. and L. Bocquet,
Physical Review Letters, 2006. 96 186102.
Phoresis and osmosis-
Interfacial force driving phenomena
phoresis
osmosis
nanobubble on colloidal interface

## Slide 23: Interfacial force and flow
Interfacial layer
Gradient

## Slide 24: Thermo-osmosis and partial hydrodynamic slip

## Slide 25: Superhydrophobic surface
Superhydrophobic surface
Water w/o bubble

## Slide 26: Thank you!